# Yeast Image Analysis Pipeline: Instructions (Steps 1–4)

This guide covers the automated extraction, preprocessing, model selection, and batch segmentation pipeline for multi-channel yeast microscopy data (acquired from Leica Thunder systems as .lif files).

### Step 1: Automatic Extraction of Hyperstacks from .lif Files

Before processing, ensure you have Fiji (ImageJ) installed with the Bio-Formats extension enabled.

- Open Fiji.

- Drag and drop or run the extraction macro script (001_Open Lif Extract Files with name_entire folder.ijm) provided for series extraction.

- When prompted by the macro pop-ups:

  - Select input folder: Choose the directory containing your original .lif files.

  - Select output folder: Choose or create a target folder where individual series will be saved as .tif hyperstacks.

- The macro will automatically iterate through all files and series, exporting them neatly with automated naming suffixes (e.g., _series001.tif).

### Step 2: Channel Splitting, Preprocessing, and Combination

Our raw images consist of 3 channels in a specific order: GFP (Channel 1), mCherry/RFP (Channel 2), and Brightfield / BF (Channel 3). Why we combine channels before segmentation: In yeast microscopy, relying solely on Brightfield (BF) often fails because cell walls have low contrast and cells frequently grow in tight clusters. Conversely, relying only on fluorescence leaves out cells with weak or absent plasmid expression. By fusing the sharp cell-wall boundaries from BF (enhanced via edge-detection) with the robust internal signal from the fluorescence channels, Cellpose receives complementary dual information. This prevents adjacent cells from fusing incorrectly in dense clusters and guarantees ultra-precise boundary delineation.

- Run the batch processing macro script provided for image combination (002_Create Combined GFP RFP BF Images for Yeast Segmentation_Batch.ijm).

- Select your folder containing the extracted .tif hyperstacks when prompted.

- Select your destination folder to save the final combined images.

- What the macro does under the hood:

  - Splits channels: Separates GFP, RFP, and BF into distinct layers and converts them to 8-bit.

  - Fluorescence preprocessing: Applies a background subtraction rolling ball (radius = 50), a median filter (radius = 2), and computes a Maximum Intensity Projection (Max Intensity Z-project) for both GFP and RFP, subsequently adding them together into a single combined fluorescence image (fluo).

  - Brightfield preprocessing: Computes a Median Z-projection (Median Z-project), applies a median filter (radius = 2), and runs Find Edges to enhance cellular boundaries.

  - Final combination: Combines the preprocessed fluorescence image and the edge-enhanced brightfield image using a maximum operator, saving the output as [OriginalName]_combined.tif.

### Step 3: Model Selection & Training in Cellpose (Using cyto3)

To accurately segment yeast cells, you will use Cellpose. If you need assistance with installation, dependencies (such as PyTorch), or setting up the graphical user interface (GUI), you can consult the Official Cellpose Documentation & Installation Guide (https://cellpose.readthedocs.io/en/latest/)

- Open your preferred environment where Cellpose is installed (whether via command line/terminal, Anaconda, or an integrated desktop environment).

- Launch the Cellpose user interface (GUI).

- Load a representative sample of your newly generated _combined.tif images into the viewer.

- Select the cyto3 pre-trained model as your starting base from the model selection menu.

- Manually correct, refine, or trace cell boundaries on a few representative sample images using the drawing tools to provide ground-truth training annotations.

- Train the model: Click on the "train" button or option in the GUI to fine-tune the cyto3 model weights specifically on your annotated yeast images. Adjust your training parameters (such as epochs) as needed and start the training process.

- Once training is complete and you are satisfied with the segmentation performance, save your trained model weights (Cellpose will generate a custom model file containing your weights, usually ending in .npy) to your local directory.

### Step 4: Batch Segmentation on All Combined Images via Python

### We are here providing our trained model (003_segment_yeast_BF-FLUO-Combined_v1). With your trained custom Cellpose model ready, you can segment your entire dataset automatically using the provided Python batch script (004_extract_cellpose_masks_batch.py).

- Run the script in your Python environment.

- A series of interactive dialog boxes will guide you step-by-step:

  - Dialog 1: Select the folder containing your _combined.tif images.

  - Dialog 2: Select your custom trained Cellpose model file.

  - Dialog 3: Select the output folder where the resulting segmentation masks should be saved.

- The script will automatically load the images, evaluate them using GPU acceleration (if available on macOS M-series / CUDA) via the model, and export clean .tif segmentation masks to your designated output folder.

### Step 5: Quantitative Fluorescence Analysis & Ratio Calculation (Foci vs. Diffuse Cytoplasm)

### Once you have your original .tif images and the corresponding Cellpose mask files, you will run the automated ImageJ macro (Measure_Foci_vs_Cytoplasm_Ratio.ijm) to perform the quantitative measurements. Here is what the macro executes step-by-ste

- Global Background Measurement:

  - Before filtering individual cell ROIs, the macro aggregates all cell masks and dilates them generously (by 6 pixels) to create a protective buffer zone preventing cell-edge halos.

  - It then takes the inverse selection of this dilated mask to isolate pure, cell-free background pixels, measuring the global mean background intensity (meanBg) on the GFP channel.

- Debris and Artifact Filtering:

  - ROIs smaller than 400 pixels are filtered out as debris (filterSmallIsolatedROIs).

  - Imperfectly segmented or abnormally shaped cells ("pacman" structures) are removed using a solidity threshold below 0.88 (filterPacmanROIs).

- Compartment (Foci) vs. Cytoplasm Extraction:

  - Foci Isolation (AND operation): For each valid cell ROI, the macro performs a logical intersection (AND) with the global fluorescence accumulation mask to isolate local focal structures (Foci_Cel).

  - Diffuse Cytoplasm Isolation (XOR operation): It performs a logical exclusive OR (XOR) subtraction between the total cell ROI and the isolated foci mask, leaving behind only the pure, diffuse cytosolic fraction (Cyto).

- Background Correction & Ratio Computation:

  - RAW Ratios: Calculates the ratio of uncorrected mean intensities MeanFoci /MeanCyto. If cytosolic signal is absent or invalid, it assigns NaN.

  - Corrected Ratios: Subtracts the global background (meanBg) from both focal and cytosolic intensities to yield true net fluorescence values (realFoci and realCyto).

  - Robust Quality Control: If net values are positive and valid, the final corrected ratio NetFoci/NetCyto is computed. Any segmentation failures, negative values, or background-level noise artifacts are automatically assigned NaN to protect downstream statistical analyses from skewed mathematical distortions.

- Data Export & Verification:

  - The macro automatically generates a master comma-separated values (.csv) results table containing areas, integrated densities, mean intensities, background values, and both RAW and CORRECTED ratios for every single cell.

  - Additionally, it saves a color-coded verification snapshot (_verificacion.jpg) outlining detected cell boundaries (Cyan) and focal compartments (Yellow) for visual quality control.